**PROPOSALS for membrane filtration equipment for seal Rock water district, Oregon**

Sealed Proposals, including the Proposal Form, will be received by the District Manager at the office of the Seal Rock Water District, P.O. Box 190, 1037 N.W. Grebe Street, Seal Rock, Oregon 97376, until 2:00 p.m., local time, on the 26th day of July, 2018. Any Proposals received after the specified time will not be considered.

Proposals will only be considered from Suppliers that meet the following prequalification requirements. Refer to the Instructions to Proposers for directions on submitting the Prequalification Form and obtaining confirmation that the prequalification requirements are satisfied. The Prequalification Form is due 14 days before the Proposal due date.

Supplier’s membrane filtration equipment must satisfy all the following requirements:

1. Supplier’s equipment shall be installed and operating in at least three municipal water systems located in Oregon, Washington, or Idaho; at least one of the three systems must be located in Oregon.
2. Each of the three installations must have a production capacity of at least 1.0 million gallons per day (mgd), with at least two of the installations having a capacity of at least 2.0 mgd.
3. Each of the three installations must have been operating in their current configuration for a minimum of 2 years since the projects were considered Substantially Complete.
4. Membranes systems must be listed by the Oregon Health Authority Drinking Water Services program as meeting the target microbial removal rates, per the most current published list.

Each Proposal must include the information described in the Instructions to Proposers and be accompanied by Bid security as prescribed in the Instructions to Proposers, payable to the Owner in an amount not less than 5 percent of the amount Bid.

Materials shall be supplied in accordance with the American Iron and Steel requirements.

For information concerning the proposed Project, contact Paul Berg, CH2M HILL (Jacobs), paul.berg@jacobs.com, (541) 768-3413. Specifications can be viewed at CH2M HILL’s office at 1100 NE Circle Blvd., Suite 300, Corvallis, OR 97330.

Owner’s right is reserved to reject all Proposals or any Proposal not conforming to the intent and purpose of the Request for Proposal Documents.

Dated this 27th day of June, 2018.

Seal Rock Water District

By Adam Denlinger, Manager